An Overview to System Management
WorldVistA Community Meeting
June 14-17, 2007
Seattle, WA

---
Context - Premise
The computer system is a tool
that must be maintained
in an IT “sterile field”

---
The Context:	Support Providers
Giving Patient Care
Support providers with patient care
Reliable – always available
Secure – no undetected crackers
Recoverable – when things do break
Maintainable – when things need repair

---
Reliable – always available
It “just works”
Configuration of redundant systems allows for uninterrupted service during hardware and software maintenance / enhancement

---
Secure – no undetected crackers
Establish an IT “sterile field”
Computers used to access the system must be considered tools, not toys
Use a VPN (Virtual Private Network)
Monitor access attempts (Intrusion detection)

---
Recoverable – when things break
Reduce down-time
Quickly re-establish service

---
Maintainable – as repair is needed

---
Planning
Remote Access/Network
Adequate power and conditioning
Adequate cooling
Plan for multiple hosts
Consider multiple locations (even if only placing on opposite sides of the room)
Select replication strategy
Journal files

---
Building
VPN for remote access
Recommend adoption of a tough policy to maintain an IT “sterile field”
  - All connected computers are tools not toys
  - If using an insecure system (e.g. Microsoft OS), no “local administrator”, lock down
  - Consider giving workers for whom the above is too “harsh” a second computer that CANNOT be used to access the system.

---
Building – 2
Uninterruptable Power Supply for servers sufficient to guarantee an orderly shutdown
Adequate space and cooling capacity to keep the system from “running hot”
Install systems (at least two)
With sufficient physical separation so that events like a fire do not cause a complete outage

---
 Building – 3
Enable journaling on database
Build database with selected replication strategy
Sufficient storage for a complete backup of the database and journals, etc

---
Maintaining
Checkpoint changes to configuration
Checkpoint (commit) changes to routines
Regular review of automation scripts
Review resource utilization (nmon)

---
Monitoring
Backups
  - Complete environment
  - Push to “off-site” media
Automate processes to monitor:
  - Free disk space in file systems
  - Free disk space in database files
  - Replication processes
  - Performance monitoring tools (nmon)
  - Integrity checks

---
Expanding / Extending
Having two (or more) host systems allows for uninterrupted operation of business while
  - Increasing storage capacity
  - Adding memory
  - Replacing/upgrading host

---
Recovering
Regular and complete backups containing:
  - All of the application routines
  - Properly backed up data
  - All support scripts
  - All configuration files (xinetd, httpd)
Alternate host available
  - Pre-built 'blank' environment
  - Consistent structure to allow load+go

---
Conclusion
The Context
Planning
Building
Maintaining
Monitoring
Expanding
Extending
Recovering